## Sheet1
Year 2021 | January |  |  | February |  |  | March |  |  | April |  |  | May |  |  | June |  |  | July |  |  | August |  |  | September |  |  | October |  |  | November |  |  | December
| (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD) |  |  | (MGD)
PLANT | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity | Flow | Capacity | % Capacity
WARDS ISLAND | 184 | 275 | 0.66909 | 196 | 275 | 0.71273 | 179 | 275 | 0.65091 | 183 | 275 | 0.66545 | 186 | 275 | 0.67636 | 202 | 275 | 0.73455 | 234 | 275 | 0.85091 | 223 | 275 | 0.81091 | 209 | 275 | 0.76 | 195 | 275 | 0.70909 | 171 | 275 | 0.62182 | 169 | 275 | 0.61455
NORTH RIVER | 96 | 170 | 0.56471 | 106 | 170 | 0.62353 | 98 | 170 | 0.57647 | 98 | 170 | 0.57647 | 100 | 170 | 0.58824 | 101 | 170 | 0.59412 | 125 | 170 | 0.73529 | 117 | 170 | 0.68824 | 118 | 170 | 0.69412 | 116 | 170 | 0.68235 | 99 | 170 | 0.58235 | 94 | 170 | 0.55294
HUNTS POINT | 138 | 200 | 0.69 | 152 | 200 | 0.76 | 137 | 200 | 0.685 | 132 | 200 | 0.66 | 130 | 200 | 0.65 | 128 | 200 | 0.64 | 150 | 200 | 0.75 | 142 | 200 | 0.71 | 160 | 200 | 0.8 | 133 | 200 | 0.665 | 116 | 200 | 0.58 | 121 | 200 | 0.605
26TH WARD | 51 | 85 | 0.6 | 55 | 85 | 0.64706 | 50 | 85 | 0.58824 | 48 | 85 | 0.56471 | 48 | 85 | 0.56471 | 47 | 85 | 0.55294 | 57 | 85 | 0.67059 | 57 | 85 | 0.67059 | 55 | 85 | 0.64706 | 52 | 85 | 0.61176 | 46 | 85 | 0.54118 | 46 | 85 | 0.54118
CONEY ISLAND | 78 | 110 | 0.70909 | 82 | 110 | 0.74545 | 78 | 110 | 0.70909 | 80 | 110 | 0.72727 | 78 | 110 | 0.70909 | 76 | 110 | 0.69091 | 83 | 110 | 0.75455 | 89 | 110 | 0.80909 | 91 | 110 | 0.82727 | 83 | 110 | 0.75455 | 76 | 110 | 0.69091 | 73 | 110 | 0.66364
OWLS HEAD | 97 | 120 | 0.80833 | 101 | 120 | 0.84167 | 89 | 120 | 0.74167 | 90 | 120 | 0.75 | 92 | 120 | 0.76667 | 89 | 120 | 0.74167 | 95 | 120 | 0.79167 | 99 | 120 | 0.825 | 98 | 120 | 0.81667 | 97 | 120 | 0.80833 | 87 | 120 | 0.725 | 90 | 120 | 0.75
NEWTOWN CREEK | 187 | 310 | 0.60323 | 208 | 310 | 0.67097 | 185 | 310 | 0.59677 | 182 | 310 | 0.5871 | 192 | 310 | 0.61935 | 185 | 310 | 0.59677 | 220 | 310 | 0.70968 | 212 | 310 | 0.68387 | 212 | 310 | 0.68387 | 206 | 310 | 0.66452 | 182 | 310 | 0.5871 | 181 | 310 | 0.58387
RED HOOK | 24 | 60 | 0.4 | 29 | 60 | 0.48333 | 25 | 60 | 0.41667 | 26 | 60 | 0.43333 | 26 | 60 | 0.43333 | 25 | 60 | 0.41667 | 28 | 60 | 0.46667 | 30 | 60 | 0.5 | 29 | 60 | 0.48333 | 28 | 60 | 0.46667 | 24 | 60 | 0.4 | 24 | 60 | 0.4
JAMAICA | 81 | 100 | 0.81 | 83 | 100 | 0.83 | 80 | 100 | 0.8 | 81 | 100 | 0.81 | 80 | 100 | 0.8 | 77 | 100 | 0.77 | 83 | 100 | 0.83 | 83 | 100 | 0.83 | 85 | 100 | 0.85 | 82 | 100 | 0.82 | 78 | 100 | 0.78 | 76 | 100 | 0.76
TALLMAN ISLAND | 57 | 80 | 0.7125 | 64 | 80 | 0.8 | 58 | 80 | 0.725 | 59 | 80 | 0.7375 | 58 | 80 | 0.725 | 56 | 80 | 0.7 | 68 | 80 | 0.85 | 62 | 80 | 0.775 | 63 | 80 | 0.7875 | 59 | 80 | 0.7375 | 53 | 80 | 0.6625 | 55 | 80 | 0.6875
BOWERY BAY | 96 | 150 | 0.64 | 113 | 150 | 0.75333 | 98 | 150 | 0.65333 | 99 | 150 | 0.66 | 103 | 150 | 0.68667 | 96 | 150 | 0.64 | 117 | 150 | 0.78 | 109 | 150 | 0.72667 | 111 | 150 | 0.74 | 106 | 150 | 0.70667 | 91 | 150 | 0.60667 | 93 | 150 | 0.62
ROCKAWAY | 20 | 45 | 0.44444 | 20 | 45 | 0.44444 | 19 | 45 | 0.42222 | 19 | 45 | 0.42222 | 19 | 45 | 0.42222 | 20 | 45 | 0.44444 | 22 | 45 | 0.48889 | 23 | 45 | 0.51111 | 23 | 45 | 0.51111 | 22 | 45 | 0.48889 | 19 | 45 | 0.42222 | 18 | 45 | 0.4
OAKWOOD BEACH | 27.8 | 39.9 | 0.69674 | 30.2 | 39.9 | 0.75689 | 29.5 | 39.9 | 0.73935 | 28.6 | 39.9 | 0.71679 | 27 | 39.9 | 0.67669 | 27.6 | 39.9 | 0.69173 | 31.5 | 39.9 | 0.78947 | 31.5 | 39.9 | 0.78947 | 37.8 | 39.9 | 0.94737 | 31.3 | 39.9 | 0.78446 | 28.4 | 39.9 | 0.71178 | 25.8 | 39.9 | 0.64662
PORT RICHMOND | 28 | 60 | 0.46667 | 33 | 60 | 0.55 | 31 | 60 | 0.51667 | 28 | 60 | 0.46667 | 28 | 60 | 0.46667 | 30 | 60 | 0.5 | 36 | 60 | 0.6 | 34 | 60 | 0.56667 | 36 | 60 | 0.6 | 30 | 60 | 0.5 | 25 | 60 | 0.41667 | 24 | 60 | 0.4